## Sheet1
| id | system | equipment | name | place | product | module | channel | crate | check | cat | property | fb | inversion | ton | tof | comment | modbus | node
0 | V_3zpe1_1_opened | RSU_12 | 3zpe1/1 | 3zpe1/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_1_OPENED
1 | V_3zpe1_1_closed | RSU_12 | 3zpe1/1 | 3zpe1/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_1_CLOSED
2 | V_3zpe1_2_opened | RSU_12 | 3zpe1/2 | 3zpe1/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_2_OPENED
3 | V_3zpe1_2_closed | RSU_12 | 3zpe1/2 | 3zpe1/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_2_CLOSED
4 | V_3zpe1_3_opened | RSU_12 | 3zpe1/3 | 3zpe1/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_3_OPENED
5 | V_3zpe1_3_closed | RSU_12 | 3zpe1/3 | 3zpe1/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE1_3_CLOSED
6 | V_3zpe2_1_opened | RSU_12 | 3zpe2/1 | 3zpe2/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_1_OPENED
7 | V_3zpe2_1_closed | RSU_12 | 3zpe2/1 | 3zpe2/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_1_CLOSED
8 | V_3zpe2_2_opened | RSU_12 | 3zpe2/2 | 3zpe2/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_2_OPENED
9 | V_3zpe2_2_closed | RSU_12 | 3zpe2/2 | 3zpe2/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_2_CLOSED
10 | V_3zpe2_3_opened | RSU_12 | 3zpe2/3 | 3zpe2/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_3_OPENED
11 | V_3zpe2_3_closed | RSU_12 | 3zpe2/3 | 3zpe2/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE2_3_CLOSED
12 | V_3zpe3_1_opened | RSU_12 | 3zpe3/1 | 3zpe3/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_1_OPENED
13 | V_3zpe3_1_closed | RSU_12 | 3zpe3/1 | 3zpe3/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_1_CLOSED
14 | V_3zpe3_2_opened | RSU_12 | 3zpe3/2 | 3zpe3/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_2_OPENED
15 | V_3zpe3_2_closed | RSU_12 | 3zpe3/2 | 3zpe3/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_2_CLOSED
16 | V_3zpe3_3_opened | RSU_12 | 3zpe3/3 | 3zpe3/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_3_OPENED
17 | V_3zpe3_3_closed | RSU_12 | 3zpe3/3 | 3zpe3/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE3_3_CLOSED
18 | V_3zpe4_3_opened | RSU_12 | 3zpe4/3 | 3zpe4/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE4_3_OPENED
19 | V_3zpe4_3_closed | RSU_12 | 3zpe4/3 | 3zpe4/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE4_3_CLOSED
20 | V_3zpe5_3_opened | RSU_12 | 3zpe5/3 | 3zpe5/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE5_3_OPENED
21 | V_3zpe5_3_closed | RSU_12 | 3zpe5/3 | 3zpe5/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_DI_FN_KE5_3_CLOSED
22 | V_3zpe1_1_opened | RSU_12 | 3zpe1/1 | 3zpe1/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_1_OPENED
23 | V_3zpe1_1_closed | RSU_12 | 3zpe1/1 | 3zpe1/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_1_CLOSED
24 | V_3zpe1_2_opened | RSU_12 | 3zpe1/2 | 3zpe1/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_2_OPENED
25 | V_3zpe1_2_closed | RSU_12 | 3zpe1/2 | 3zpe1/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_2_CLOSED
26 | V_3zpe1_3_opened | RSU_12 | 3zpe1/3 | 3zpe1/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_3_OPENED
27 | V_3zpe1_3_closed | RSU_12 | 3zpe1/3 | 3zpe1/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE1_3_CLOSED
28 | V_3zpe2_1_opened | RSU_12 | 3zpe2/1 | 3zpe2/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_1_OPENED
29 | V_3zpe2_1_closed | RSU_12 | 3zpe2/1 | 3zpe2/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_1_CLOSED
30 | V_3zpe2_2_opened | RSU_12 | 3zpe2/2 | 3zpe2/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_2_OPENED
31 | V_3zpe2_2_closed | RSU_12 | 3zpe2/2 | 3zpe2/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_2_CLOSED
32 | V_3zpe2_3_opened | RSU_12 | 3zpe2/3 | 3zpe2/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_3_OPENED
33 | V_3zpe2_3_closed | RSU_12 | 3zpe2/3 | 3zpe2/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE2_3_CLOSED
34 | V_3zpe3_1_opened | RSU_12 | 3zpe3/1 | 3zpe3/1 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_1_OPENED
35 | V_3zpe3_1_closed | RSU_12 | 3zpe3/1 | 3zpe3/1 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_1_CLOSED
36 | V_3zpe3_2_opened | RSU_12 | 3zpe3/2 | 3zpe3/2 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_2_OPENED
37 | V_3zpe3_2_closed | RSU_12 | 3zpe3/2 | 3zpe3/2 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_2_CLOSED
38 | V_3zpe3_3_opened | RSU_12 | 3zpe3/3 | 3zpe3/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_3_OPENED
39 | V_3zpe3_3_closed | RSU_12 | 3zpe3/3 | 3zpe3/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE3_3_CLOSED
40 | V_3zpe4_3_opened | RSU_12 | 3zpe4/3 | 3zpe4/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE4_3_OPENED
41 | V_3zpe4_3_closed | RSU_12 | 3zpe4/3 | 3zpe4/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE4_3_CLOSED
42 | V_3zpe5_3_opened | RSU_12 | 3zpe5/3 | 3zpe5/3 opened | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE5_3_OPENED
43 | V_3zpe5_3_closed | RSU_12 | 3zpe5/3 | 3zpe5/3 closed | [12 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_DI_FN_KE5_3_CLOSED