## Sheet1
| id | equipment | system | name | place | product | module | channel | crate | check | inversion | property | fb | comment | modbus | node
0 | V_3zpe1_1_open | 3zpe1/1 | RSU_12 | 3zpe1/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE1_1_OPEN
1 | V_3zpe1_2_open | 3zpe1/2 | RSU_12 | 3zpe1/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE1_2_OPEN
2 | V_3zpe1_3_open | 3zpe1/3 | RSU_12 | 3zpe1/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE1_3_OPEN
3 | V_3zpe2_1_open | 3zpe2/1 | RSU_12 | 3zpe2/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE2_1_OPEN
4 | V_3zpe2_2_open | 3zpe2/2 | RSU_12 | 3zpe2/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE2_2_OPEN
5 | V_3zpe2_3_open | 3zpe2/3 | RSU_12 | 3zpe2/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE2_3_OPEN
6 | V_3zpe3_1_open | 3zpe3/1 | RSU_12 | 3zpe3/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE3_1_OPEN
7 | V_3zpe3_2_open | 3zpe3/2 | RSU_12 | 3zpe3/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE3_2_OPEN
8 | V_3zpe3_3_open | 3zpe3/3 | RSU_12 | 3zpe3/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE3_3_OPEN
9 | V_3zpe4_2_open | 3zpe4/2 | RSU_12 | 3zpe4/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE4_2_OPEN
10 | V_3zpe4_3_open | 3zpe4/3 | RSU_12 | 3zpe4/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE4_3_OPEN
11 | V_3zpe5_2_open | 3zpe5/2 | RSU_12 | 3zpe5/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE5_2_OPEN
12 | V_3zpe5_3_open | 3zpe5/3 | RSU_12 | 3zpe5/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU4_FN_KE5_3_OPEN
13 | V_4zpe1_1_open | 4zpe1/1 | RSU_12 | 4zpe1/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE1_1_OPEN
14 | V_4zpe1_2_open | 4zpe1/2 | RSU_12 | 4zpe1/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE1_2_OPEN
15 | V_4zpe1_3_open | 4zpe1/3 | RSU_12 | 4zpe1/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE1_3_OPEN
16 | V_4zpe2_1_open | 4zpe2/1 | RSU_12 | 4zpe2/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE2_1_OPEN
17 | V_4zpe2_2_open | 4zpe2/2 | RSU_12 | 4zpe2/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE2_2_OPEN
18 | V_4zpe2_3_open | 4zpe2/3 | RSU_12 | 4zpe2/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE2_3_OPEN
19 | V_4zpe3_1_open | 4zpe3/1 | RSU_12 | 4zpe3/1 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE3_1_OPEN
20 | V_4zpe3_2_open | 4zpe3/2 | RSU_12 | 4zpe3/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE3_2_OPEN
21 | V_4zpe3_3_open | 4zpe3/3 | RSU_12 | 4zpe3/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE3_3_OPEN
22 | V_4zpe4_2_open | 4zpe4/2 | RSU_12 | 4zpe4/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE4_2_OPEN
23 | V_4zpe4_3_open | 4zpe4/3 | RSU_12 | 4zpe4/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE4_3_OPEN
24 | V_4zpe5_2_open | 4zpe5/2 | RSU_12 | 4zpe5/2 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE5_2_OPEN
25 | V_4zpe5_3_open | 4zpe5/3 | RSU_12 | 4zpe5/3 open | [9 empty] | SR_23G12_1_MECHANICAL_FILTRATION_UNIT.LCU5_FN_KE5_3_OPEN