## Sheet1
| id | system | equipment | name | place | product | module | channel | crate | check | cat | property | fb | inversion | ton | tof | comment | modbus | node
0 | V_31kshe7_opened | RSU_12 | 31kshe7 | 31kshe7 opened | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE7_OPENED
1 | V_31kshe7_closed | RSU_12 | 31kshe7 | 31kshe7 closed | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE7_CLOSED
2 | V_31kshe8_opened | RSU_12 | 31kshe8 | 31kshe8 opened | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE8_OPENED
3 | V_31kshe8_closed | RSU_12 | 31kshe8 | 31kshe8 closed | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE8_CLOSED
4 | V_31kshe9_opened | RSU_12 | 31kshe9 | 31kshe9 opened | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE9_OPENED
5 | V_31kshe9_closed | RSU_12 | 31kshe9 | 31kshe9 closed | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE9_CLOSED
6 | V_31kshe10_opened | RSU_12 | 31kshe10 | 31kshe10 opened | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE10_OPENED
7 | V_31kshe10_closed | RSU_12 | 31kshe10 | 31kshe10 closed | [12 empty] | SR_23G8_1_IO1.DI_IO1_31KE10_CLOSED